What is an effective or a root mean square value of an alternating current and of an alternating voltage?

An effective value of an alternating current is root mean square of its instantaneous value over one cycle. This is 1/1.4142 of the peak current value for a normal (= sinusoidal) alternating current. An effective value of an alternating voltage is defined in the same manner. It is 1/1.4142 of the peak voltage value.

Work of electric current is converted to heat. The equivalency between alternating current (AC) and direct current (DC) can be understood by comparison of the beat that AC and DC generate, separately. For experimental proof, prepare two cups that contain same amount of water. Then insert resistors of the same value to each and apply an AC current and a DC current respectively. Adjust the current to create the equal water temperature over a given time (Heat generated by each resistant is same). At this time, we find that the value of the DC current is 1/1.4142 of the peak value of the AC current. It is called an effective value to measure a work of an alternating current.

