What is average power of an AC circuit?

Average power is electric power that is sent to an AC device and consumed effectively to do work. The other term of "average power" is "active power". A unit of average power is watt.

A resistor consumes electric power and produces heat, when electric power is sent. Electric power becomes effective (average power). However, a coil and a capacitor, store electric power temporary, then send it back to the electric power source, when electric power is sent. Therefore, electric power does not become effective (reactive power) since it goes back and forth, then, between the source and a coil, and a capacitor. Electric power source equipment needs the capacity of apparent power that total average power and reactive power.

Generally, the power of an alternating current network means average power. These are the following relations among the average power, P (W), the reactive power Ps (Var) and the apparent power, Ps (VA).

