Can we obtain integrated power with a power transducer?

Yes. You may start with a power transducer having a pulse output for integration; for example, M-System Model LWT and LTWT. Apply the output to a pulse counter for integration. The pulse counter displays the integrated power. Power transducers with integration pulse output (M-System model LWT and LTWT) are very useful. The LWT or LTWT unit receives signals from voltage (potential) transformers, VT (PT) and current transformers, or CT, and calculates the average power. Then, it generates a standard DC signal, as well as a pulse signal for power integration. It is very useful for factories and building facilities to monitor their electricity consumption because it can display integrated power data and instantaneous power consumption values in the individual facilities.

