PC Recorder — Model R1M

This is an application for a twin tower hotel.  There are about 100 guest rooms and the hotel wants to monitor the water flow of each guest room.  Flow meter will be used to sense the water flow, from which voltage pulse will be generated.  How can we configure a monitoring system for the customer?

With M-System remote I/O modules, you can easily configure a monitoring system for above application.

You can use our R1M-P4 to accept pulse signal from flow meter and transfer the information to a PC for real time monitoring.  Each module is capable to accept up to 16 channel inputs if the pulse frequency is less than 100 Hz.

Thanks to the Modbus communication feature in R1M, they can be daisy chained together to form a local network.  With one of them being connected to a PC via RS232C cable, you acquired a full function Monitoring System.  Of course, you won’t forget to install the monitoring software MSR128 into your PC first.  This software is easy to use and powerful.  It can monitor as many as 128 channels.  What’s more, it comes with the R1M module for free.