# Replace existence equipments to multi power monitor 53U

We are monitoring plant facility’s value of power, current, voltage and etc. by existing old indicators.  They are very old, so we are planning to replace the indicators to new one.  We are looking for a new one, which can measure and display several variables of measured data by itself.  We also want to collect measured data by PC.  Does M-System have any suitable indicator?

By the way, we hope the new indicators to fit the existing panel cutout DIN size 96 x 96mm.

We’d like to offer our multi power monitor, model 53U to meet your request.  The 53U fits the existing panel cutout size, so you can replace the indicators without changing any panel processing.  Please input voltage and current of the power line, and then the 53U enable you to monitor several variables of energy, power and other factors on the display.  It can apply to any system configurations of single-phase/ 2-wire and 3-wire, 3-phase/ 3-wire and 4-wire.  As for voltage input, it accepts max. 480V (line-to-line).

Furthermore, the 53U has Modbus network interface port so that you can make data acquisition by using dedicated PC recorder software, MSR128LUS working on Modbus communication.  The MSR128LUS is downloadable from M-System website (www.m-system.co.jp) at free of charge.