# Multi Functional Panel Meter

We would like to display a 4-20mA DC signal from the two-wire level transmitter.Is there a product to display the water level with alarm output, and the alarm status can be visible?

We propose a model 47DV, DC input digital panel meter.Display color can be changed at alarm, e.g. green (normal) red (alarm).Bar graph indicator shows approximate measuring status.There is 12V or 24V excitation supply built-in for the two-wire field transmitter.It eliminates a need of current loop supply device. 