# Measurement and display of Hi/Low temperature

We like to measure and display a typical temperature of our plant floor. Since there is a temperature difference at two measurement locations, we like to measure and select the higher or the lower temperature by season. Thermometer has a 4-20mA output. Is there any solution?

We propose Hi/Low Selector (model: M2SES2), which is DIP switch selectable higher or lower signal. It is also selectable a normal output proportional to the input 1, or loop test output of 0%, 50% and 100%. These settings will be valid when turning on the power supply. The output from M2SES can be displayed on the digital panel meter (model: 47LV). 