# Water Level Display With Digital Panel Meter 46 series

We like to display a water level in a tank. The 4 to 20mA DC output from a level transmitter is for 0 to 5.00 meter of water level in a oval-shaped tank. Thus, water usage and decreased water level are not proportional. Is there a digital indicator to display water usage?

We’d like to introduce our DC input digital panel meter, model 46DL2, which has a linearizer function (max. 16 points). Also, if the alarm output is needed, the 46DV2 is available. 